Reference Material

This certificate  is designed in accordance  with ISO 17034  and ISO Guide  31. This reference  material (RM) was designed,produced

and verified  in accordance with ISO/IEC  17025, ISO  17034 and a registered  quality management  system ISO 9001.

Product Name  6 Organophosphorus Pesticide Mix in Chloroform,1000µg/mL

Part Number

Expiry Date

B64277

Lot Number

Storage

M03HB176718

2023-Apr-25

-18°C，Keep in the shade

CERTIFIED

Component

No.

Peak

Sequence

Concentration

(µg/mL)

Uncertainty

(%)

Component

CAS No.

1

1

Dichlorvos

Trichlorfon

62-73-7

52-68-6

60-51-5

298-00-0

121-75-5

56-38-2

1000

1000

1000

1000

1000

1000

2

2

2

2

2

2

2

2

3

3

Dimethoate

4

4

Parathion-methyl

5

5

Parathion-ethyl

Malathion

6

6

Instrument

GC/FID

C H R O M A T O G R A M

Column

HP-5MS(30m×0.25mm×0.25µm)

Injection Temp

220°C

Detector Temp

250°C

Method Details

120°C(3min),20°C/min

190°C

(1min),5℃/min

250°C

Intended Use

This RM is intended  for use in a  laboratory as a calibration  and quality control  standard or in method  development  for analytical

techniques.

Uncertainty

The certified  value(s) and uncertainty(ies)  are determined  in accordance  with ISO 17034 with  an 95% confidence  level (k=2).

Uncertainty is  based on the Total  Combined Uncertainty,  including uncertainties  of preparation,  purity of neat materials,

homogeneity,  stability testing.

Traceability

The balances  used for gravimetric  measurements are  calibrated with weights  traceable to the  national standards.  The calibration of

the balances  is verified annually  by an external accredited  calibration service.  This analysis method  has been verified  using an

approach consistent  with ISO 17034:2016  & ISO 17025:2017.

Homogeneity

Random replicate  samples of the  final packaged RM  have been analysed  to prove homogeneity  consistent with ISO  17034.

Storage

The RM should  be stored in the original  sealed bottle  at the indicated temperature.

CERTIFICATE

2021-Oct-26

ON

QC

SIGNATURE

RM Release